## Slide 1: Factors affecting the results of diffusion tests

## Slide 2
1- Rate of drug diffusion : depends mainly on the molecular weight of the antibiotic , for example Penicillin has low m.wt so it diffuse rapidly in the agar while Polymyxins has high m.wt so it diffuses slowly .Sometime the diffusion rate may be affected by the chemical interaction between media and drug .
2- The culture media
Media constituents: the perfect medium should not contain any antagonist materials that interfere with antibiotic activity .Some media dose not contain the proper nutrients for the microbial growth in order to perform the sensitivity test.

## Slide 3
pH of the medium : affecting on activity of many antibiotics many test preferred to be done on pH = 7.3 (the pH of human body)
Minerals and salts : monovalent cataions increase catalize the activity of many antibiotics like Bacitracin and Novobiocin against Staphylococci and Penicillin against Proteus , while Divalent cations decrease the inhibition zone because they interact with peptide antibiotics like Polymyxin or alkaline antibiotic like kanamycin .
Carbohydrates : may decrease the inhibition zone to some microbes and some antibiotics .
The blood : small inhibition zone are seen for some antibiotics that have peptide bonds like Fusidic acid and Novobiocin .

## Slide 4
3- Depth of medium: inhibition zone increase in size when agar depth is thin, very thin layer media must be avoided and the optimum depth is 4 mm .
4- Density of Inoculum : the density of inoculum affecting on the inhibition zone for example a very light inoculum may result in a difficulties in evaluation for zone edge and a large inhibition zone may formed if the inoculum was very light.
5- Incubation period: should be less than 24 hr. Because long incubation period less the drug activity and this allows the sensitive microorganisms that inhibited by drug to grow again .so this method is used for rapidly growth microorganisms (have short generation time ).

## Slide 5
6- The discs: must be stored under proper conditions at 4c , validity (not expired ) ,number of discs per dish and spaces between them .
7- Controls cultures: types of bacteria that are well known about their response to antibiotics and they are used to compare with other results such as P .aeroginosa , E.coli and S.aureus .
Ideal sensitivity testing medium:-
1- Very well-known ingredients
2- Should not be enriched media support the rapid growth of bacteria.
3- Dose not contains antagonist materials to any bacterial Spp.
4- Keep its pH stable and constant during bacterial growth
5- Should be isotonic.

## Slide 6
Methods for inoculation:
The way of inoculation is affecting on the balance and spreading of growth on the media and the best results are obtained by flooding or agar overlay methods of culturing.
Flooding : in this method the bacterial suspension is over layed on the agar surface in a proper volume by dropping and distributed by Pasteur pipette until the inoculums cover all the surface , the media is turning from side to side to cover the surface and then turning the media to dispose the excess inoculum and this done by Pasteur pipette .
This method is dangerous because it may produce aerosols during the pipetting and this should be avoided when using highly virulence organisms

## Slide 7
Agar overlay : Bacterial suspension is diluted and mixed with agar at 45 C then poured on previously agar layer in Petri dish .This method give good results when compare with other methods .
Swabbing by swab.
Spreading by spreader.
Streaking by loop
The theory of zone formation
The rate of drug diffusion in the media depending on it's m.wt and chemical composition for both drug and medium,
The drug concentration decrease from the disc to the edge of inhibition zone gradually, this disc contents is known (absolute amount).

## Slide 8
Critical concentration: the less concentration of the drug that can inhibit the microorganism under testing at the zone edge and it depend on microbe sensitivity to the drug and Minimal Inhibitory Concentration (MIC) .
The distance between disc to zone edge depend on :-
Inoculum volume
Growth rate
Pre-incubation period
Pre-diffusion

## Slide 10
Critical density: density of inoculum that inhibited by the drug on zone edge and depends on both drug and organism.
If the inoculum is more than critical density, the inhibition zone will not formed, but if the inoculum is less than critical density so the inhibition zone will be very wide. In case of slow growing organism, the drug diffusion will be faster and inhibition zone will be bigger (not truth).
The gradient plate test
This method is used to know the sensitivity or resistance of m.o. to specific or several antibiotics , and from the gradient of concentration you can know the MIC of antibiotic to microorganisms ; this method is done by preparing and pouring half amount of nutrient agar (at 45-50C) in a petri dish ,then turning it and leaving the media to solidify to get tilt surface ; then the remaining amount of nutrient agar wormed at 45C (still

## Slide 11
liquid ) and mixing with the antibiotic under test that prepared in certain concentration and poured over the first layer ,then leave to solidify to get plane surface, so ,two layers will be formed in the Petri dish and get clear gradient of antibiotic concentration ,then the media will streaked by bacteria and incubated in suitable time and notice the growth of bacteria on the surface of media
Well method or the agar cup method
This method is used for evaluation of liquid and semi-solid sample of antibiotics, Media is poured in 4mm . Thicknesses then inoculated with bacteria by streaking or swabbing, and then make a well in the center of dish (agar) by sterile cork porer (more than one well could be done by this method in order to use more than one concentration or more than one kind of antibiotic) in proper diameter 5-10 mm.
Under a sterile condition and the well depth should not reach the bottom of plate then add a suitable amount of drug (ex:50ml) ,incubate the plate at 37C for 24hr . Then measured the inhibition zone around the well by mm, This method could be used to know the activity of certain antibiotic to several kinds of m.o .