Thevenin’s Theorem

Any two-terminal, linear bilateral dc network can be replaced by an equivalent circuit consisting of a voltage source and a series resistor,

The following sequence of steps will lead to the proper value of RTh and ETh.

- Remove that portion of the network across which the Thévenin equivalent circuit is to be found.

- Mark the terminals of the remaining two-terminal network.

- Calculate RTh by first setting all sources to zero (voltage sources are replaced by short circuits and current sources by open circuits) and then finding the resultant resistance between the two marked terminals.

- Calculate ETh by first returning all sources to their original position and finding the open-circuit voltage between the marked terminals.

- Draw the Thévenin equivalent circuit with the portion of the circuit previously removed replaced between the terminals of the equivalent circuit.

So the load current will be equal to

IL=EthRth+RL

EXAMPLE: Find the Thévenin equivalent circuit for the network in the shaded area of the network. Then find the current through RL for values of 2Ω, 10Ω, and 100Ω.

Solution:

EXAMPLE: Find the Thévenin equivalent circuit for the network in the shaded area of the network

Solution:

EXAMPLE: Find the Thévenin equivalent circuit for the network in the shaded area of the network

Solution:

EXAMPLE: Find the Thévenin equivalent circuit for the network in the shaded area of the bridge network

Solution:

Norton’s Theorem

Any two-terminal linear bilateral dc network can be replaced by an equivalent circuit consisting of a current source and a parallel resistor,

The steps leading to the proper values of IN and RN are now listed.

- Remove that portion of the network across which the Norton equivalent circuit is found.

- Mark the terminals of the remaining two-terminal network.

- Calculate RN by first setting all sources to zero (voltage sources are replaced with short circuits and current sources with open circuits) and then finding the resultant resistance between the two marked terminals.

- Calculate IN by first returning all sources to their original position and then finding the short-circuit current between the marked terminals.

- Draw the Norton equivalent circuit with the portion of the circuit previously removed replaced between the terminals of the equivalent circuit.

Then

IL=INRNRN+RL

EXAMPLE: Find the Norton equivalent circuit for the network.

Solution:

EXAMPLE: Find the Norton equivalent circuit for the network external to the 9-Ω resistor.

Solution:

EXAMPLE: Find the Norton equivalent circuit for the portion of the network to the left of a-b.

Solution:

1) (Using superposition) for the 7-V battery

2) (Using superposition) for the 8-A source