كلية الرشيد الجامعة

قسم تقنيات المختبرات الطبية

المرحلة الثانية

Microbiology practical

Lab 4

Methods of culture

Presented by

M.Sc Hawraa D. Salman

Lab -4-                  Methods of Culturing

Methods of culturing used to:

1-Isolation of M.O. from sample.

2-For culturing M.O. in the sample.

3-Obtain pure culture.

The methods of culturing are :-

1-Pipetting by pipette     (in broth medium)

2-Inoculation by loop     (in broth medium)

3-Streaking by loop        (on solid medium)

4-Stabbing by needle   (on solid or semi-solid medium)

5-Swabbing by swab       (on solid medium)

6-Pouring plate method   (on solid medium)

7-Spreading by spreader  (on solid medium)

1-Pipetting by pipette or micropipette

This method was suitable in the dilution to extinction

laboratory, the purpose from this method is to count

the M.O, (viable plate count).

2-Inoculation by loop

This method was used to increase the number of M.O.

in liquid media

Method

1-Hold the tube that contain the broth culture

in your hand .

2-Mix the tube that contain the culture to spread

the bacteria  through the broth

3-Hold the other tube that contain the sterile broth

in the  same hand that carrying the broth culture .

4-Sterile the loop.

5-Remove the two cotton plugs of the tubes by the

hand that carrying the loop.

6-Sterile the upper of the tubes by flame.

7-By the sterile loop , transfer drop from broth

culture to sterile broth.

8-sterile the upper of the tubes and close them .

9- Sterile the contaminated

loop with flame.

10-Put the new cultured tube

in the incubator

at 37C˚ for 24 hr.

3-Streaking by loop

Streaking on agar plate in order to isolate bacteria , this will enable you to isolate pure cultures of bacteria by obtaining isolated pure colony.

A-Streaking on plates

-ABCD method:

1-Transfer by sterile loop colony from solid medium or drop from broth medium to solid medium in petri dish near the edge , spread it to become point A

2-Sterile the loop and cool it in the edge of solid medium.

3-Rotate the dish , then touch the A  area by

sterile loop ,vertically draw several parallel lines

to form in their end point B .

4-Repeat step 2.

5- Rotate the dish in the same direction, and touch

the B point by sterile loop , vertically draw several

parallel lines to form in their end point C .

6-Repeat step 2.

7- Rotate the dish in the same direction,

and touch the C point by sterile loop ,

vertically draw several parallel lines to

form in their end point D .

8- From D  draw one zigzag line to the

middle of dish.

9-Repeat step 2.

10-Put petri dish in the incubator

at 37 C˚ for 24hr.

-Continuous streaking

1- Sterile the loop and cool it in the edge of solid medium.

2-transfer the culture to the solid media

3-spraed the culture as continuous parallel

lines to the end of the dish.

4-Sterile the loop.

5-Incubate at 37C˚ for 24 hr as inverted dish.

B-Streaking on slant

1-By sterile loop , take a colony from

solid medium or drop from cultured

broth medium.

2-Remove the cover of slant tube

and sterile the upper part.

3-cultivate on the slant medium by

streaking , then sterile the tube and

close it.

4-sterile the loop by flame and then put the slant in the incubator at 37C˚ for 24 hr.

4-Stabbing by needle

This method is used to study the ability of bacteria to:-

1-Grow with presence O2 or not.

2-Motility.

3-Production of some chemical

compounds during the metabolism.

Method

1-Sterile the loop by flame .

2-Hold one colony  or part from bacterial

growth from solid medium by needle.

3-Open the tube that contain sterile semisolid

medium and sterile the upper of tube.

4-Stab the needle that contain bacteria in the

medium vertically ,then hold it directly.

5-Sterile the upper of the tube again and close it.

6-Sterile the needle by flame.

7-Incubate the tube at 37C˚ for 24 hr

5-Swabbing by swab

Used to obtain heavy growth for some biochemical tests such as sensitivity test and for colony counting

Method

1-Submerge the sterile cotton swab in bacterial

broth culture.

2-Swab on the sterile solid medium parallel

lines over the medium.

3-Rotate the plate and repeat step 2

4-Put the swab on alcohol (used for one time).

5-Incubate the tube at 37C˚ for 24 hr

6-Pouring plate method

This method is used for counting the colonies

Method

1-Prepare serial dilutions from 10-1 to 10-5 of sample

2-Transfer by sterile pipette 0.1 ml of each dilution to sterile petri-plate

3-Prepare sterile solid culture medium and cooled it to 45-50 C˚ in water bath

4-Aseptically pour agar into each petri-plate , swirl the plate to mix the sample with the agar.

5-Allow the agar to cool and solidify.

6-Incubate the inverted plate at 37C˚ for 24 hr

7-Spreading by spreader

Used to spread the bacteria on the surface of the solid medium for colony counting

Method

1-Prepare 3 dilutions (10-1 , 10-2 , 10-3) from sample.

2-Prepare nutrient agar plates and label them.

3-Using sterile pipette , transfer 0.1 ml from each of dilution tubes and the original sample to agar plates

4-Sterilize the glass spreader by putting it in alcohol and burn it by burner.

5-After the cooling of spreader , spread the sample over the surface of the plate.

6-Incubate inverted plates at 37C˚ for 24 hr